## Slide 1
Lecture 16
MRI magnets Read section 5.14 from Smith and Webb for magnets

## Slide 2
We now understand why the steady (1.5T) and the RF magnets (~ mT) are there.
But why do we need the third magnet in the MRI set-up?

## Slide 3
Bo
Steady magnetic field, Bo (initially aligns spins)
What magnetic fields do we have?
Spatial information
B1
RF magnetic field, B1 (excites aligned spins)

## Slide 4: Gradient coils
Sections 5.8 and 5.9 from Smith and Webb

## Slide 5
Localizing the signal
We still don’t have a way to distinguish the magnetic resonance signals coming from protons in different locations in the body. We need to localize the signal.

## Slide 6
Pulsed gradients (~ milliseconds)
Expressed in units of change in resonant frequency per cm (Hz/cm). For protons 10 mT/m = 4,258 Hz/cm.
G (~10 mT/m) << Bo (~ 1.5 T)
Over 30 cm, total field variation is ~ 3mT (0.2% of Bo)

## Slide 7
z-gradient (Gz): Slice selection
y-gradient (Gy): Phase encoding
x-gradient (Gx): Frequency encoding

## Slide 8
Step 1. Slice selection

## Slide 9: Magnetic field is Bo at the isocentre
isocentre
Gradient in z-direction
y
x
z
B0

## Slide 10
Slice selection

## Slide 11
Slice thickness
= g (z Gz)
Slice thickness: 2Dws/gGz
Gz

## Slide 12
All spins in the slice have same precessional frequency

## Slide 13
Step 2. phase encoding

## Slide 14
Apply phase encoding (PE) gradient pulse (Gy)
Slower unchanged faster

## Slide 15
After PE Gradient is turned off, all spins have same frequency again, but different phase
-90° 0° +90°

## Slide 16
Step 3. frequency encoding

## Slide 17: Faster Unchanged slower
Apply frequency encoding gradient (Gx)
Remains on during read-out of RF signal.
Each spin will precess with a unique frequency

## Slide 18: Watch the video links shared on Moodle